## Slide 1: Navigation System for Interventional Radiology (IR) Summer School, Montpellier, 2013
Grzegorz Toporek1
Supervisor: Stefan Weber1
1Image Guided Therapies, ARTORG Center for Biomedical Engineering Research, University of Bern, Switzerland

## Slide 2: Thermal ablation
1Lau WY et al. Ann Surg 2009
Curative treatment
Early HCC
Non-resectable primary liver tumours1

## Slide 3: Thermal ablation
1Lau WY et al. Ann Surg 2009
Curative treatment
Early HCC
Non-resectable primary liver tumours1
Percutaneous

## Slide 4: Thermal ablation
1Lau WY et al. Ann Surg 2009
Curative treatment
Early HCC
Non-resectable primary liver tumours1
Percutaneous
Minimally-invasive

## Slide 5: Thermal ablation
1Lau WY et al. Ann Surg 2009
Curative treatment
Early HCC
Non-resectable primary liver tumours1
Percutaneous
Minimally-invasive
  RFA
  MWA

## Slide 6: Thermal ablation
1Lau WY et al. Ann Surg 2009
Curative treatment
Early HCC
Non-resectable primary liver tumours1
Percutaneous
Minimally-invasive
  RFA
  MWA
Deficits
  Lack of spatial orientation
  Imprecision

## Slide 7: Navigated thermal ablation
1B. Wood et al. J Vasc Interv Radiol, 2008
Image-based guidance systems1
Speed-up intervention time
Increase precision and confidence in the IR suite
Deficits
  Soft tissue deformation
  Organ movement

## Slide 8: Liver - the most movable abdominal organ
Directly connected to the diaphragm
Breathing-dependent multidimensional movement1
Soft tissue deformation2
1M. Clifford et al., Computer Aided Surgery, 2002
2N. Kang et al., Computer Graphics and Applications, 2012
13 – 39 mm
1 – 12 mm
1 – 3 mm
~6 mm
Courtesy of Maryam Seif, AMSM-University of Bern

## Slide 9: Aim of this work
Develop a working, clinically applicable solution for minimally invasive thermal ablations on the liver that targets:
  Soft tissue deformation
  Real time patient tracking
  Needle bending

## Slide 10: Navigation system for interventional procedures1, 2
1 T. Oliveira-Santos, Computer aided surgery, 2011
2 Toporek et al. CVIR, 2013
Several Improvements:
Integration of the aiming device
Automatic patient-image registration
Stabilization of the patient tracking with SM
User-software interaction optimalization

## Slide 11: Clinical trail (n = 20)
Hypotheses
  Navigated MWA + HFJV
Materials
  20 patients
  Aiming device
Methods
  1-2 needle placements in n=20 patients
Endpoints
  Targeting accuarcy
  Time required for each step

## Slide 12: High frequancy jet ventilation
Providing the most rigid situation with high frequency jet ventilation (HFJV)
Standard ventilation
HFJV
Courtesy of Yann Lachenal, Interventional Radiology, CHUV, Lausanne

## Slide 13: Accuracy Evaluation: Results
Trajectory Nr | Case | Initial FRE | TPE Lateral [mm] | TPE Long. [mm] | TPE Euclidian [mm]
1 | Pat_01 | N/A | 8.87 | 6.22 | 10.83
2 | Pat_02 | 0.6 | 2.65 | 2.18 | 3.44
3 | Pat_02 | 0.6 | 5.37 | 1.86 | 5.68
4 | Pat_03 | 0.48 | 2.31 | -1.37 | 2.68
5 | Pat_04 | 0.32 | 8.09 | 7.64 | 11.12
6 | Pat_04 | 0.32 | 4.6 | 3.62 | 5.86
7 | Pat_05 | 0.44 | 2.59 | 1.92 | 3.23
8 | Pat_05 | 0.44 | 1.47 | 1.33 | 1.99
 | Pat_06 | Missing Control Scan |  |  | 
9 | Pat_07 | N/A | 3.21 | 3.45 | 4.72
Average |  | 0.46 | 4.35 | 2.98 | 5.51
Std. Dev. |  | 0.12 | 2.63 | 2.68 | 3.36

## Slide 14: Next steps
Thank you for your attention