## Slide 1: Modeling and Control of Continuum Robots for Vessel Navigation
Phuong Toan Tran
Supervisors
Prof. Jos Vander Sloten
Prof. Dominiek Reynaerts
Dr. Ir. Emmanuel Vander Poorten

## Slide 2: Mini-Invasive Vascular Surgery
Catheter-based vascular surgery
  Benefits: patient recovery, treatment
  Drawbacks: maneuverability, visibility, radiation exposure, contrast agent risks
Continuum robots: self-aware steerable catheters
  Internal actuators
  Sensors
Research questions
  Optimal design
  Control in dynamic and
  deformable environments
  Simulation-based approach

## Slide 3: Mini-Invasive Vascular Surgery
Catheter-based vascular surgery
  Benefits: patient recovery, treatment
  Drawbacks: maneuverability, visibility, radiation exposure, contrast agent risks
Continuum robots: self-aware steerable catheters
  Internal actuators
  Sensors
Research questions
  Optimal design
  Control in dynamic and
  deformable environments
  Simulation-based approach

## Slide 4: Catheter Design for Aortic Valve Implantation
Objective
  Find order of occurrence actuators/sensors/valve
  number of required actuators
  length of actuators
2-DoF actuator
Ø : 5mm
L : 10-90mm
Valve
Ø : 6mm
L : 25mm
2-DoF actuator
Ø : 5mm
L : 10-90mm
EndoSense Force sensor
Ø : 2.5mm
L : 20mm
IVUS probe
Ø : 2.5mm
L : 15mm
NDI Aurora EM sensors
Ø : 0.9mm
L : 25mm
M7 Flow sensor
1.6 x 1 x 0.5 mm
Not modeled

## Slide 5
2 short (30-20mm) proximal actuators
1 short (20mm) - 1 long (80mm) proximal actuators
1 short (30mm) proximal - 1 short (20mm) distal actuators
1 long (90mm) proximal - 1 short (20mm) distal actuators

## Slide 6: Conclusion & Future Work
Real time catheter simulation
GPGPU implementation (proximity queries)
Dynamic vascular environment
Validation in 3D mock-up
Catheter design
Intra-op catheter control